## Summary
BOQ Summary & Capital Structure (ETB)
Elemental construction summary, then the full capex and funding structure. Ties exactly to the financial model.
Element | Amount ETB | % of capex | Note
A Preliminaries & General | 377096310 | 7.247% | 7 items
B Substructure | 616199550 | 11.84% | 11 items
C Superstructure - Frame, Floors & Roof | 637545000 | 12.25% | 7 items
D External Envelope | 421106280 | 8.092% | 4 items
E Internal Divisions | 146718000 | 2.819% | 4 items
F Finishes | 339989680 | 6.533% | 6 items
G Fittings & Sanitary | 99915770 | 1.92% | 2 items
H Services / Mep | 799684370 | 15.37% | 10 items
I Specialist Systems | 543934690 | 10.45% | 5 items
J External Works (2,000 M2 Surface) | 81910350 | 1.574% | 7 items
TOTAL CONSTRUCTION WORKS (BOQ A-J) | 4064100000 | 78.1% | Sum of the 10 BOQ elements
DEVELOPMENT COST / CAPEX
Construction works (BOQ A-J) | 4064100000 | 78.1% | Sum of the 10 BOQ elements
In-house design @2% | 81282000 | 1.562% | TDOMA staff cost, capitalised per IAS 16.17(a); general overhead excluded per IAS 16.19(d)
Specialist consultancy | 16849500 | 0.3238% | Industry norm, not a vendor quotation - specialist systems need external design
Contingency @12% | 499467780 | 9.598% | On construction + design + specialist
Capital works | 4661699280 | 89.58%
FF&E - TDOMA scope | 163020000 | 3.133% | Common areas + HQ + hire-out venues. Operator fits out hotel; tenants fit out demises.
IDC (IAS 23, capitalised) | 360537467 | 6.928% | Solved monthly on the IDC sheet - model is fully acyclic, no iteration needed
Arrangement fee @1.5% | 18542697 | 0.3563% | Borrowing cost - IAS 23
Building sub-total (CASH) | 5203799444 | 100%
Land (in-kind, NON-CASH) | 1650000000 | 31.71% | City's PPP contribution
TOTAL CAPEX / DEVELOPMENT COST | 6853799444 | 100%
Pre-opening & marketing | 120000000
TOTAL USES | 6973799444
FUNDING
Cash requirement (ex-land) | 5323799444
TDOMA equity (75% of cash) | 3992849583
City land (in-kind, non-cash) | 1650000000
Debt (25% of cash) | 1330949861
TOTAL SOURCES | 6973799444
CHECK: Sources - Uses | 0 |  | Must be zero
Input VAT recoverable on capex (refunded in year 1) | 629311210
Memo - USD @160 | 42836246.525 |  | Reference
Capex per gross m2 | 181317 |  | Total capex / gross building area
EFFECTIVE capex per TDOMA gross m2 (70%) | 259025 |  | TDOMA's 70% economic share of the building
Note: elemental estimate at concept stage; re-measure from detailed drawings before tender. Rates in ETB, current mid-2026; verify with a quantity surveyor and current supplier quotations. Land is the City's non-cash PPP contribution; capitalised costs follow IAS 16/IAS 23 as noted.

## Detailed BOQ
Detailed Bill of Quantities (elemental / preliminary) - ETB
Concept-stage elemental BOQ. Blue = input (Qty, Rate). Amount = Qty x Rate. Re-measure from detailed drawings before tender.
Item | Description | Unit | Qty | Rate ETB | Amount ETB
A | PRELIMINARIES & GENERAL
A.1 | Site establishment, hoarding, offices & welfare | sum | 1 | 40021990 | 40021990
A.2 | Site management, supervision & staff | month | 36 | 4002200 | 144079200
A.3 | Insurances, performance bond & permits | sum | 1 | 48915770 | 48915770
A.4 | Temporary services (power, water, telecoms) | sum | 1 | 26681330 | 26681330
A.5 | Health, safety & environmental management | sum | 1 | 31128220 | 31128220
A.6 | Tower crane, hoists & major plant | month | 36 | 1778760 | 64035360
A.7 | Testing, commissioning & handover | sum | 1 | 22234440 | 22234440
| Subtotal A |  |  |  | 377096310
B | SUBSTRUCTURE
B.1 | Site clearance & strip | m2 | 5000 | 360 | 1800000
B.2 | Bulk excavation for 3 basement levels | m3 | 42000 | 1070 | 44940000
B.3 | Secant/contiguous pile retaining wall | m2 | 3600 | 24900 | 89640000
B.4 | Dewatering during construction | sum | 1 | 35575110 | 35575110
B.5 | Cart away & disposal of surplus | m3 | 42000 | 620 | 26040000
B.6 | Blinding / lean concrete | m2 | 3000 | 2220 | 6660000
B.7 | RC raft foundation | m3 | 3600 | 28460 | 102456000
B.8 | RC basement retaining walls | m3 | 2400 | 30240 | 72576000
B.9 | RC basement columns, beams & slabs (3 levels) | m2 | 9000 | 19570 | 176130000
B.10 | Tanking / waterproofing to basement | m2 | 6600 | 5780 | 38148000
B.11 | Basement drainage, sumps & pumps | sum | 1 | 22234440 | 22234440
| Subtotal B |  |  |  | 616199550
C | SUPERSTRUCTURE - FRAME, FLOORS & ROOF
C.1 | RC columns (above grade) | m3 | 3200 | 26680 | 85376000
C.2 | RC beams | m3 | 4000 | 25790 | 103160000
C.3 | Transfer structure at podium/tower interface | m3 | 900 | 40020 | 36018000
C.4 | Suspended RC floor slabs (above grade) | m2 | 28800 | 12450 | 358560000
C.5 | RC roof slab & parapets | m2 | 1200 | 13340 | 16008000
C.6 | RC staircases (all cores) | m2 | 1600 | 16010 | 25616000
C.7 | Vehicle ramps | m2 | 900 | 14230 | 12807000
| Subtotal C |  |  |  | 637545000
D | EXTERNAL ENVELOPE
D.1 | Unitised curtain walling / structural glazing | m2 | 8500 | 28460 | 241910000
D.2 | Kinetic bronze facade shading system | m2 | 3500 | 40020 | 140070000
D.3 | Solid cladding / rendered external walls | m2 | 2500 | 10670 | 26675000
D.4 | Main entrance portals & revolving doors | no | 4 | 3112820 | 12451280
| Subtotal D |  |  |  | 421106280
E | INTERNAL DIVISIONS
E.1 | Blockwork / partition walls | m2 | 22000 | 2850 | 62700000
E.2 | Fire-rated & acoustic partitions | m2 | 6000 | 4000 | 24000000
E.3 | Glazed internal partitions | m2 | 3000 | 8000 | 24000000
E.4 | Internal doors (all types) | no | 900 | 40020 | 36018000
| Subtotal E |  |  |  | 146718000
F | FINISHES
F.1 | Floor finishes - retail & public (tile/stone) | m2 | 12000 | 5780 | 69360000
F.2 | Floor finishes - offices & back of house | m2 | 8000 | 3110 | 24880000
F.3 | Floor finishes - hotel & serviced apts (premium) | m2 | 3500 | 7560 | 26460000
F.4 | Wall finishes, plaster & paint | m2 | 60000 | 1250 | 75000000
F.5 | Suspended ceilings | m2 | 26000 | 2850 | 74100000
F.6 | Feature finishes (lobbies, atrium, rooftop) | sum | 1 | 70189680 | 70189680
| Subtotal F |  |  |  | 339989680
G | FITTINGS & SANITARY
G.1 | Sanitary fittings & toilet fit-out | WC grp | 60 | 850000 | 51000000
G.2 | Built-in joinery, reception counters & signage | sum | 1 | 48915770 | 48915770
| Subtotal G |  |  |  | 99915770
H | SERVICES / MEP
H.1 | Cold & hot water supply, tanks & pumps | m2 | 37800 | 1600 | 60480000
H.2 | Soil, waste & rainwater drainage | m2 | 37800 | 1070 | 40446000
H.3 | HVAC - ventilation & cooling | m2 | 37800 | 4890 | 184842000
H.4 | Electrical LV distribution & small power | m2 | 37800 | 3380 | 127764000
H.5 | Standby generators & transformers | no | 3 | 19566310 | 58698930
H.6 | Lighting (internal & feature) | m2 | 37800 | 1420 | 53676000
H.7 | Fire detection, sprinklers & hydrants | m2 | 37800 | 1960 | 74088000
H.8 | Passenger & goods lifts | no | 8 | 10672530 | 85380240
H.9 | Escalators (podium) | no | 8 | 8004400 | 64035200
H.10 | BMS, ELV, data & IoT cabling | m2 | 37800 | 1330 | 50274000
| Subtotal H |  |  |  | 799684370
I | SPECIALIST SYSTEMS
I.1 | Automated logistics (ASRS / AGV / cross-dock) | sum | 1 | 292513600 | 292513600
I.2 | Data centre / cloud node fit-out | sum | 1 | 106725320 | 106725320
I.3 | Hydraulic 2-car stacking parking system | platform | 65 | 550000 | 35750000
I.4 | Bonded & cold storage fit-out | m2 | 1500 | 40020 | 60030000
I.5 | Cashless, access-control & security systems | sum | 1 | 48915770 | 48915770
| Subtotal I |  |  |  | 543934690
J | EXTERNAL WORKS (2,000 m2 surface)
J.1 | Site paving & hardstanding | m2 | 1400 | 5780 | 8092000
J.2 | Surface parking equipment & markings | sum | 1 | 5336270 | 5336270
J.3 | Loading dock apron, levellers & equipment | no | 4 | 4002200 | 16008800
J.4 | Soft landscaping, seating & water feature | sum | 1 | 17787550 | 17787550
J.5 | Boundary wall, gates & gatehouse | sum | 1 | 10672530 | 10672530
J.6 | External drainage & utility connections | sum | 1 | 16008800 | 16008800
J.7 | Site lighting & external power | sum | 1 | 8004400 | 8004400
| Subtotal J |  |  |  | 81910350
| TOTAL CONSTRUCTION WORKS (A-J) |  |  |  | 4064100000